## Settings
Sample Info | Znam ZrO2 40nm point
Comments | OFF state, -0.1/0.0/-0.4 V
Major Measurement Parameters
Starting Temperature | 300.906
Initial Temperature | 300
Final Temperature | 320
Preliminary Voltage | -0.1
Pulse Voltage | 0
Pulse Time | 5
Wait Time | 1
Measurement Voltage | -0.4
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.3
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 3
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 10
Measurecount | 1
Time
Date | 10.9.2026
Clock | 19:53:52

## Stabilization
Temperature | Current | Temp Rate
300.9 | -0.0021953 | 0
300.897 | -0.0021953 | -0.12987
300.894 | -0.0021954 | -0.12934
300.891 | -0.0021953 | -0.12867
300.885 | -0.0021953 | -0.16027
300.884 | -0.0021953 | -0.13646
300.88 | -0.0021954 | -0.14189
300.874 | -0.0021954 | -0.15828
300.869 | -0.0021953 | -0.16553
300.866 | -0.0021954 | -0.1616
300.862 | -0.0021953 | -0.1804
300.858 | -0.0021952 | -0.22405
300.854 | -0.0021951 | -0.32817
300.849 | -0.0021952 | -0.72026
300.846 | -0.0021954 | -1.1503
300.842 | -0.0021954 | -0.16102
300.838 | -0.0021955 | -0.16155
300.833 | -0.0021955 | -0.1646
300.829 | -0.0021955 | -3.0443
300.825 | -0.0021954 | -0.16512
300.82 | -0.0021955 | -0.16724
300.816 | -0.0021955 | -0.16741
300.813 | -0.0021955 | -0.16563
300.808 | -0.0021954 | -0.16758
300.805 | -0.0021953 | -0.16605
300.799 | -0.0021952 | -0.16952
300.796 | -0.0021953 | -0.16788
300.792 | -0.0021953 | -0.16773
300.788 | -0.0021953 | -0.16771
300.784 | -0.0021952 | -0.16767
300.78 | -0.0021953 | -0.16781
300.776 | -0.0021952 | -0.1679
300.771 | -0.0021953 | -0.16923
300.768 | -0.0021954 | -0.16796
300.764 | -0.0021955 | -0.16797
300.76 | -0.0021956 | -0.16806
300.756 | -0.0021956 | -0.1681
300.752 | -0.0021955 | -0.1681
300.747 | -0.0021955 | -0.16925
300.743 | -0.0021956 | -0.16927
300.739 | -0.0021957 | -0.16916
300.735 | -0.0021954 | -0.16921
300.732 | -0.0021955 | -0.16812
300.728 | -0.0021954 | -0.16801
300.723 | -0.0021954 | -0.16904
300.722 | -0.0021954 | -0.16624
300.718 | -0.0021954 | -0.16627
300.715 | -0.0021954 | -0.16536
300.71 | -0.0021956 | -0.16636
300.708 | -0.0021956 | -0.16472
300.703 | -0.0021956 | -0.16567
300.699 | -0.0021955 | -0.16582
300.694 | -0.0021957 | -0.16663
300.69 | -0.0021955 | -0.16664
300.687 | -0.0021958 | -0.1659
300.683 | -0.0021957 | -0.16601
300.679 | -0.0021958 | -0.16603
300.674 | -0.0021958 | -0.16685
300.672 | -0.0021957 | -0.16537
300.668 | -0.0021957 | -0.16543
300.664 | -0.0021956 | -0.16548
300.659 | -0.0021959 | -0.16625
300.654 | -0.0021958 | -0.16698
300.651 | -0.0021958 | -0.16634
300.647 | -0.0021959 | -0.16638
300.642 | -0.0021957 | -0.16708
300.639 | -0.0021958 | -0.1665
300.633 | -0.0021958 | -0.16777
300.63 | -0.0021959 | -0.16716
300.625 | -0.0021958 | -0.1678
300.621 | -0.0021958 | -0.1678
300.617 | -0.0021959 | -0.16782
300.613 | -0.0021959 | -0.16788
300.609 | -0.0021959 | -0.1679
300.605 | -0.0021956 | -0.16787
300.602 | -0.0021956 | -0.16728
300.599 | -0.0021956 | -0.16674
300.594 | -0.0021958 | -0.16734
300.591 | -0.0021957 | -0.16681
300.588 | -0.0021957 | -0.1663
300.585 | -0.0021958 | -0.16581
300.581 | -0.0021959 | -0.16587
300.579 | -0.0021958 | -0.16488
300.576 | -0.0021958 | -0.16438
300.571 | -0.0021957 | -0.16495
300.568 | -0.0021956 | -0.16449
300.564 | -0.0021955 | -0.16452
300.56 | -0.0021957 | -0.16459
300.557 | -0.0021957 | -0.16417
300.552 | -0.0021957 | -0.1647
300.55 | -0.0021957 | -0.16384
300.545 | -0.0021957 | -0.16439
300.541 | -0.0021958 | -0.16443
300.538 | -0.0021958 | -0.16402
300.533 | -0.0021957 | -0.16447
300.53 | -0.0021956 | -0.16407
300.524 | -0.0021957 | -0.16498
300.519 | -0.0021958 | -0.16544
300.515 | -0.0021957 | -0.16544
300.51 | -0.0021957 | -0.16589
300.507 | -0.0021959 | -0.16549
300.505 | -0.0021958 | -0.16472
300.501 | -0.0021959 | -0.16476
300.498 | -0.002196 | -0.16438
300.494 | -0.002196 | -0.16441
300.49 | -0.0021958 | -0.16442
300.486 | -0.002196 | -0.16444
300.484 | -0.0021958 | -0.16372
300.478 | -0.0021959 | -0.16449
300.474 | -0.0021958 | -0.16455
300.471 | -0.0021956 | -0.16422
300.467 | -0.0021956 | -0.16425
300.463 | -0.0021956 | -0.1643
300.459 | -0.002196 | -0.16433
300.454 | -0.0021958 | -0.16471
300.451 | -0.0021958 | -0.16437
300.448 | -0.0021956 | -0.16406
300.445 | -0.0021957 | -0.16373
300.441 | -0.0021958 | -0.16373
300.437 | -0.002196 | -0.16374
300.436 | -0.002196 | -0.16271
300.43 | -0.0021957 | -0.16344
300.428 | -0.0021957 | -0.16278
300.424 | -0.0021956 | -0.16283
300.42 | -0.0021955 | -0.16286
300.418 | -0.0021955 | -0.16224
300.413 | -0.0021956 | -0.16261
300.409 | -0.0021958 | -0.16265
300.404 | -0.0021956 | -0.16297
300.399 | -0.0021956 | -0.16333
300.395 | -0.0021955 | -0.16337
300.392 | -0.0021956 | -0.16308
300.388 | -0.0021959 | -0.16313
300.384 | -0.0021959 | -0.16319
300.38 | -0.0021958 | -0.16322
300.377 | -0.0021959 | -0.16294
300.372 | -0.002196 | -0.16326
300.369 | -0.0021958 | -0.16296
300.366 | -0.0021959 | -0.16269
300.363 | -0.0021961 | -0.16242
300.361 | -0.002196 | -0.16187
300.358 | -0.0021958 | -0.16162
300.353 | -0.0021958 | -0.16197
300.35 | -0.0021958 | -0.1617
300.348 | -0.0021959 | -0.16117
300.344 | -0.0021959 | -0.16122
300.341 | -0.0021958 | -0.16094
300.336 | -0.0021959 | -0.16129
300.333 | -0.0021957 | -0.16106
300.329 | -0.0021959 | -0.16112
300.324 | -0.0021958 | -0.16142
300.319 | -0.0021959 | -0.16176
300.312 | -0.002196 | -0.16264
300.309 | -0.0021959 | -0.1624
300.304 | -0.002196 | -0.16272
300.302 | -0.0021959 | -0.16222
300.297 | -0.0021956 | -0.16253
300.293 | -0.0021959 | -0.16256
300.291 | -0.0021959 | -0.16206
300.286 | -0.0021956 | -0.16235
300.281 | -0.0021958 | -0.16265
300.278 | -0.0021959 | -0.16241
300.274 | -0.0021957 | -0.16244
300.272 | -0.0021957 | -0.16196
300.267 | -0.0021959 | -0.16225
300.265 | -0.0021961 | -0.16178

## Pulse
Temperature | Current | Time
300.264 | 1.7193e-05 | 0.76732
300.261 | 1.7211e-05 | 2.2172
300.257 | 1.7225e-05 | 3.6573
300.254 | 1.7182e-05 | 5.068

## Measurements
Temperature | Current | Temp Rate
300.243 | -0.0088585 | 0
300.35 | -0.0088576 | 0.24458
300.655 | -0.0088558 | 0.71774
300.952 | -0.0088548 | 1.0678
301.263 | -0.0088533 | 1.3875
301.55 | -0.008852 | 1.6375
301.867 | -0.0088507 | 1.8759
302.151 | -0.0088495 | 2.0666
302.452 | -0.0088481 | 2.2413
302.754 | -0.0088468 | 2.3957
303.058 | -0.0088453 | 4.1558
303.351 | -0.0088441 | 5.9411
303.657 | -0.0088427 | 8.7652
303.953 | -0.0088418 | 17.2087
304.243 | -0.0088403 | 26.2329
304.554 | -0.0088394 | 2.8595
304.853 | -0.0088379 | 2.885
305.154 | -0.0088367 | 2.9005
305.454 | -0.0088352 | 52.0004
305.749 | -0.0088343 | 2.9114
306.061 | -0.0088328 | 2.9063
306.352 | -0.0088316 | 2.9029
306.657 | -0.0088305 | 2.8951
306.95 | -0.0088292 | 2.8929
307.254 | -0.0088279 | 2.8935
307.558 | -0.0088271 | 2.8925
307.846 | -0.008826 | 2.8943
308.151 | -0.0088247 | 2.8963
308.45 | -0.0088237 | 2.8935
308.759 | -0.0088222 | 2.9005
309.059 | -0.0088215 | 2.9034
309.352 | -0.0088202 | 2.9055
309.644 | -0.008819 | 2.9118
309.946 | -0.0088182 | 2.9152
310.255 | -0.0088169 | 2.9156
310.563 | -0.0088162 | 2.9193
310.849 | -0.0088145 | 2.9225
311.154 | -0.0088129 | 2.9277
311.444 | -0.0088133 | 2.9273
311.764 | -0.0088122 | 2.9293
312.056 | -0.0088143 | 2.9313
312.357 | -0.0088045 | 2.9335
312.654 | -0.0087588 | 2.9369
312.956 | -0.0084846 | 2.9382
313.249 | -0.0076659 | 2.9401
313.557 | -0.0081841 | 2.9392
313.847 | -0.0078478 | 2.9397
314.153 | -0.0080707 | 2.9396
314.455 | -0.0086527 | 2.9405
314.757 | -0.0090484 | 2.9424
315.052 | -0.0091756 | 2.9439
315.355 | -0.0092279 | 2.9459
315.657 | -0.0092575 | 2.9477
315.954 | -0.009365 | 2.9485
316.248 | -0.0090096 | 2.9484
316.55 | -0.0086118 | 2.9498
316.846 | -0.0080173 | 2.9524
317.153 | -0.0075652 | 2.9534
317.454 | -0.0076373 | 2.9527
317.756 | -0.0075152 | 2.9542
318.057 | -0.0078506 | 2.9531
318.347 | -0.0081564 | 2.9561
318.646 | -0.0079943 | 2.9577
318.943 | -0.0080023 | 2.9582
319.254 | -0.0084932 | 2.9566
319.56 | -0.0089235 | 2.9555
319.854 | -0.0085219 | 2.9583
320.147 | -0.0083778 | 2.9577